ABSTRACT

A new and fast hollow fiber based liquid phase microextraction (HF-LPME) method using volatile

organic solvents coupled with high-performance liquid chromatography (HPLC)was developed for determination

of aromatic amines in the environmental water samples. Analytes including 3-nitroaniline,

3-chloroaniline and 4-bromoaniline were extracted from 6mL basic aqueous sample solution (donor

phase, NaOH 1 mol L−1) into the thin film of organic solvent that surrounded and impregnated the pores

of the polypropylene hollow fiber wall (toluene, 20_L), then back-extracted into the 6_L acidified aqueous

solution (acceptor phase, HCl 0.5 mol L−1) in the lumen of the two-end sealed hollow fiber. After

the extraction, 5_L of the acceptor phase was withdrawn into the syringe and injected directly into the

HPLC system for the analysis. The parameters influencing the extraction efficiency including the kind of

organic solvent and its volume, composition of donor and acceptor phases and the volume ratio between

them, extraction time, stirring rate, salt addition and the effect of the analyte complexation with 18-

crown-6 ether were investigated and optimized. Under the optimal conditions (donor phase: 6mL of

1 mol L−1 NaOH with 10% NaCl; organic phase: 20_L of toluene; acceptor phase: 6_L of 0.5 mol L−1 HCl

and 600mmol L−1 18-crown-6 ether; pre-extraction and back-extraction times: 75 s and 10 min, respectively;

stirring rate: 800 rpm), the obtained EFs were between 259 and 674, dynamic linear ranges were

0.1–1000_gL−1 (R > 0.9991), and also the limits of detectionwere in the range of 0.01–0.1_gL−1. The proposed

procedure worked very well for real environmental water samples with microgram per liter level

of the analytes, and good relative recoveries (91–102%) were obtained for the spiked sample solutions.

© 2009 Elsevier B.V. All rights reserved.